## 24KVA
24kVA, 3-Phase Hybrid Inverter System for MoH DFN Building
ITEM | DESCRIPTION | UNIT | QTY | UNIT RATE SLE | TOTAL SLE
1 | N-Type 600W Bifacial Dual Glass Monocrystalline Solar Panels, Tier-1, 30-Year Warranty | Nr. | 40
2 | Lithium Battery Modules, 5.12kWh each, Total 51.2kWh, 10-Year Warranty | Nr. | 10
3 | 24kVA Three-Phase Hybrid Inverter, 5-Year Warranty | Nr. | 1
4 | Heavy Duty Indoor Cabinet including Lightning Protection, Battery/Inverter Interconnections, Copper Busbars, DC Isolators, Battery Switches | Nr. | 1
5 | PV Combiner Boxes with DC Protection and SPD | Nr. | 2
6 | Automatic Transfer Switch (ATS) / Changeover Switch 125A, Three-Phase prioritizing Solar | Nr. | 1
7 | Roof Mounting System (24kWp Capacity), Aluminium Alloy Structure including Waterproofing | Set | 1
8 | Miscellaneous Materials (Earthing, MC4 Connectors, Conduits, DC/AC Cables, Labels, Tools, etc.) | Ls | 1
9 | Transport Logistics (International Freight, Customs Clearance, Local Delivery, Storage & Supervision) | Ls | 1
10 | Installation, Testing & Commissioning, Integration with Existing DB | Ls | 1
11 | Project Management, QA/QC, Documentation, Training, Handover & Post-Commissioning Support | Ls | 1
| 24KVA System output |  |  |  | 0